### Researches:

### Product: Holz Prof of fire retardant

### 2019

- BM Trada Registration Certificate. Fire retardant “Holz Prof” (“HR Prof”) for timber of structural uses

- Forest and wood products research and development institute. Holz Prof treated OSB. Classification of reaction to fire in accordance with EN13501-1:2018

- Forest and wood products research and development institute. Holz Prof treated termowood. Classification of reaction to fire in accordance with EN13501-1:2018

- Forest and wood products research and development institute. Fire retardant Holz Prof treated birch plywood. Classification of reaction to fire performance in accordance with EN13501-1:2007+A1:2009

- Forest and wood products research and development institute testing laboratory. Test Report No.3618-1/2019. Fire retardant Holz Prof treated birch plywood.

- Forest and wood products research and development institute testing laboratory. Test Report No.3618-2/2019. Fire retardant Holz Prof treated birch plywood.

- Forest and wood products research and development institute testing laboratory. Test Report No.3740-1/2019. Fire retardant Holz Prof treated wood particle board.

- Forest and wood products research and development institute testing laboratory. Test Report No.3740-2/2019. Fire retardant Holz Prof treated wood particle board.

- Forest and wood products research and development institute. Holz Prof treated wood particle board. Classification of reaction to fire in accordance with EN13501-1:2018

- Forest and wood products research and development institute. Expert Assessment. “Durability of Holz Prof fire retardant treated wood.”

### 2018

- Fire Safety Certification product approval no. APF-1424, EN13501-1

- TÜV Eesti OÜ Testing Laboratory. Test Report No. 010-18TM, EN ISO 11925-2: 2010. Reaction to Fire Tests - Ignitability of Building Products Subjected to Direct Impingement of Flame – Part 2: Single-flame Source Test

- Appendix A Certificate No TT-PRS-0111. The use of Holz Prof fire retardant with wood preservative.

- Forest and wood products research and development institute. GLM I Veddige AB. Spruce wood cladding with Holz Prof fire retardant. Classification of reaction to fire performance in accordance with EN13501-1:2007+A1:2009

- Applus laboratories. CLASSIFICATION REPORT. Fire retardant name: Holz Prof (HR Prof) Wood type: spruce wood cladding Nominal cladding thickness: 20 mm Minimal cladding profile thickness: 10 mm Fire retardant total consumption: 300 g/m2. Fire reaction classification: CLASS B-s1,d0

- TÜV Eesti Member of TÜV Nord Group. CLASSIFICATION OF REACTION TO FIRE in accordance with EVS-EN 13501-1:2007+A1:2009. Birch panel with fire retardant HR Prof. CLASSIFICATION REPORT: TEK- 219/18

- Health Board. Republic of Estonia. Test report № KL2018/E2578K-1 (TVOC test)

- Exova BM Trada. Management Systems Certification Audit Report. Construction chemical products development and production.

- Forest and wood products research and development institute. GLM I Veddige AB. Spruce wood cladding with Holz Prof fire retardant with 300 g/m2 consumption. Nominal thickness 20mm. Test Report No. 2914-3/2018

- Forest and wood products research and development institute. GLM I Veddige AB. Spruce wood cladding with Holz Prof fire retardant with 300 g/m2 consumption. Nominal thickness 20mm. Test Report No. 2914-2/2018

- BM Trada Registration Certificate. Fire retardant “Holz Prof” (“HR Prof”) for timber of structural uses

- SBI TEST REPORT. UNE-EN ISO 11925-2:2011: “Reaction to fire tests. Ignitability of products subjected to direct impingement of flame. Part 2: Single-flame source test. (ISO 11925-2:2010)”.

UNE-EN 13823:2012+A1:2016: “Reaction to fire tests for building products. Building products excluding floorings exposed to the thermal attack by a single burning item”.

- Applus Laboratory. Technical inspection/audit report. Wood cladding, UNE-EN ISO 11925-2:2011, UNE-EN 13823:2012+A1:2016: Reaction to fire tests. Ignitability of products subjected to direct impingement of flame. Part 2: Single-flame source test. (ISO 11925-2:2010)”.  Reaction to fire tests for building products. Building products excluding floorings exposed to the thermal attack by a single burning item.

- Tecnalia. Wood preservative Holz Bio. Testing for Biological Assays. (Termites) Report No. 074043-1-a

- BM Trada Registration Certificate. Verification of FPC and classification of products with higher reaction to fire or fire resistance requirements according to EN 13501

- Forest and wood products research and development institute testing laboratory. Test Report No.2787-1/2018. Spruce wood plank treated with Holz Prof fire retardant.

- Applus laboratories. Test Report. Fire retardant name: Holz Prof (HR Prof) Wood type: spruce wood cladding Nominal cladding thickness: 20 mm Minimal cladding profile thickness: 10 mm Fire retardant total consumption: 300 g/m2. “Reaction to fire tests. Ignitability of products subjected to direct impingement of flame. Part 2: Single-flame source test. (ISO 11925-2:2010)”.

### 2017

### The type of wood painted spruce wood cladding boards, thickness- 21mm with woterborne acrylic paint for wood Villa Ultima Tikkurila, SBI test  report, Euroclass B-s1, d0 . Forest and Wood Products Research and Development Institute (MeKA), Latvia. in EN 13823:2010+A1:2014 and EN ISO 11925-2:2010

### The type of wood painted spruce wood cladding boards, thickness- 21mm with paint for wood Sikkens Cetol WF-771 AKZO NOBEL, SBI test  report, Euroclass B-s1, d0 . Forest and Wood Products Research and Development Institute (MeKA), Latvia. in EN 13823:2010+A1:2014 and EN ISO 11925-2:2010

### The type of wood Clulam panel and HolzProf fire retardant treatment 270ml/m2, 23mm air gap and calcium silicate backing board, Euroclass C-s1-d0, SBI Test EN 13823:2010, TÜV Eesti OÜ

### The type of wood Pine board with TANALIT-E and HolzProf fire retardant treatment 270ml/m2, 23mm air gap and calcium silicate backing board, Euroclass C-s1-d0, SBI Test EN 13823:2010, TÜV Eesti OÜ

### The type of wood Spruce regular board with HolzProf fire retardant treatment 270ml/m2 treatment was done in year 2008, 23mm air gap and calcium silicate backing board, Euroclass C-s2-d0, SBI Test EN 13823:2010, TÜV Eesti OÜ

### 2016

### Laboratory of wood protection and emission from wood based products, test raport nr 268/228 Bio, method against wood destroying basidiomycetes according to modifified LVS EN 113:2000 st. method. Wood specimens treated with products were not covered by aerial mycelium of decay fungus during the test.Product showed the corrected mean mass loss below 3% wich provided adequated protection of wood according to the EN113.

### The type of wood pine timber thickness- 24mm, 3xretardant + 1xHolz Oil, Euroclass C-s1, d0, SBI Test EN 13823:2002, TÜV Eesti OÜ.

### The type of wood „douglas fir”, MeKA testing Laboratory fo Nezerland cone calorimeter test report.

### Exova BMTRADA certificate of registration ISO 9001:2015 Quality management system, 26.06.2016, requirements according to EN 13501.

### Regestration of certificate product is assessed against EN 13501 – 1:2007 – A1:2009 and EN 13501 – 2:2007+A1:2009, Verification of FPC and classification of products with higher reaction to fire or fire resistance requirements according to EN 13501.

- Lithuanian Certificate of Conformity nr GTC 100630  EN 1350-1:2007+A1:2010, 07.10.2016

- The type of wood painted spruce wood cladding thickness- 20mm, SBI test  report, Euroclass B-s1, d0 . Forest and Wood Products Research and Development Institute (MeKA), Latvia. in EN 13823:2010

### 2015

- The type of wood pine timber thickness- 18mm , flooring Test , classification report . Forest and Wood Products Research and Development Institute (MeKA), Latvia.EN ISO 11925-2-2010 and EN ISO 9239-1-2010 –   classification-A2(fi)B(fi)

- the type of wood: spruce wood cladding (18 mm – minimum 10 mm, with air gap – 23 mm),  Euroclass B-s1, d0,  issue No. K15-1/2014 - classification report - EN 13501-1:2007 + A1:2009. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: spruce wood cladding (18 mm – minimum 10 mm, with air gap – 23 mm), Euroclass B-s1, d0, SBI test to determine the fire protection classes - EN 13823:2010, test report No. 1022-1/2013.
Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: spruce wood cladding, a test to determine inflammability - EN ISO 11925-2:2010 -  test report No. 1022-2/2013, Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- Flooring Radiant Panel Single Specimen Report, Sep. 21 2015, Pine wood treated with ECOPROF + Holz Oil, Potential classification: A2(fl)/B(fl), Smoke production classification : s1

### 2014

### TÜV EESTI OÜ clafication raport nr TEK-122-1/14 of fire resistence in accordance with EVS-EN 13501-2:2007+A1:2009. Fire resistance classifications: E160;EW60; E90

- the type of wood: spruce wood cladding (18 mm – minimum),  Euroclass B-s1, d0,  issue No. K04/2014 - classification report - EN 13501-1:2007 + A1:2009. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: spruce wood cladding (18 mm – minimum ), Euroclass B-s1, d0, SBI test to determine the fire protection classes - EN 13823:2010, test report No. 624/2011.
Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: spruce wood cladding, a test to determine inflammability - EN ISO 11925-2:2010 -  test report No. 1120/2014, Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: larch wood, (18 mm, with air gap – 20 mm), Euroclass B-s1, d0, a test report No. 16773A – EN13823. Wfrgent NV (Warringtonfiregent - a spin-off company from the University of Gent), Belgium.

- the type of wood: spruce wood cladding with wood stains (18 mm), Euroclass B-s1, d0,  issue No. K04/2014 - classification report - EN 13501-1:2007 + A1:2009. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: pine wood cladding with wood stains (18 mm) -  a test to determine inflammability. test report No. 1120/2014 - EN ISO 11925-2:2010. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: pine classes K110, K210, Classification report of fire resistance - EN ISO 17025: 2009, Ref. No. 4P05204. SP Technical Research Institute of Sweden. +

- the type of wood: modiwood, (18 mm, with air gap – 21 mm), Euroclass B-s1, d0, issue No. 32964/14 - classification report – EN 350-1. SKH - KOMO. Nederland.

- VTT Expert Services Ltd nr VTT-C-8605-12, B-s1,d0 and K110 or K210.

- Lithuanian Certificate of Conformity nr GTC 100528  EN 1350-1:2007+A1:2010, 24.02.2014

### 2013

- the type of wood: pine wood cladding (14 mm) Euroclass B-s1, d0,  issue No. K22/2013 - Classification report - EN 13501-1:2007 + A1:2009, Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: pine wood cladding (14 mm), Euroclass B-s1, d0, SBI test to determine the fire protection classes - EN 13823:2010, test report No. 1022-1/2013.
Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: pine wood cladding, a test to determine inflammability - EN ISO 11925-2:2010 -  test report No. 1022-2/2013, Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- Lithuanian Certificate of Conformity nr GTC 100528  EN 1350-1:2007+A1:2010, 25.06.2013.

Fire resistant

- the type of wood: pine, classes K110, K210, Classification report of fire resistance - EN 13501-2: 2007+A1: 2009, Ref. No. 3P03654. SP Technical Research Institute of Sweden.

the type of wood: pine,  K210, - Fire Test of Covering EN 14135:2004 and EN 1363-1:1999 and 1363-2:1999, Ref. No. 3P00887 2013-02-11. SP Technical Research Institute of Sweden.

- the type of wood:  spruce wood cladding,  (18 mm, spruce), Classification report of reaction to fire testing of Modiwood. Single Burning Item test - EN 13823:2010, Efectis Nederland FETIM Profesional.

- LRQA Business Assurance Ltd ISO 9001:2008 quality certificate, 06.08.2013.

### 2012

### BTTG Fire Technology Services, Confidential Report, Hessian coated with msl Firecheck ISO 11925-2:2002, the test results are not intended to be the sole to be sole criterion for assessing the potential fire hazard of the material in use.

- the type of wood: Scotland Larch (21 mm). Class 0. part 6:1989. BRE Global, UK - BS 476.

- the type of wood: Scotland Larch (21 mm). Class 1, part 7:1997.  BRE Global, UK - BS 476.

- the nuclear magnetic resonance analysis of processed wood, the result test.  The Institute of Chemical and Biological Physics, Tallinn Estonia.

- the type of wood: oak (27 mm with air gap – 27 mm). Euroclass B-s1, d0, classification report - EN 13501-1:2010. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: oak (27 mm with air grap – 27 mm). Euroclass B-s1, d0, SBI test to determine the fire protection classes - EN 13823, test report 716-1/2012. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

  - the type of wood: oak - a test to determine inflammability - EN ISO 11925-2. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- VTT EXPERT SERVICES OY, fire retardant substance certificate nr VTT-C-8605-12

### 2011

- the type of wood: Western Red Cedar, (22 mm with air gap – 20 mm),

Euroclass B-s1, d0, classification report - EN 13501-1:2010, Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- SBI test to determine the fire protection classes - EN 13823, test report 546-1/2011 the type of wood: Western Red Cedar (22 mm with air gap – 20 mm).

Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- test to determine inflammability - EN ISO 11925-2 , type of wood: Western Red Cedar. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: Scotland Larch, (22 mm with  air gap – 20 mm),

Euroclass B-s1, d0, classification report, EN 13501-1:2010,  Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- SBI test to determine the fire protection classes - EN 13823, test report 547-1/2011. 
the type of wood: Scotland Larch, (22 mm with  air gap – 20 mm).

Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- test to  determine inflammability -  EN ISO 11925-2. the type of wood: Scotland Larch, Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: Sibirian Larch, (25 mm with air gap 20 mm),

Euroclass B-s1, d0, classification report,  EN 13501-1:2010, Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- SBI test to determine the fire protection classes - EN 13823, test report 547-1/2011.

the type of wood: Sibirian Larch, (25 mm with air gap 20 mm)

Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- test to determine inflammability,  EN ISO 11925-2. the type of wood: Sibirian Larch,

Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: Wood cladding (18 mm, spruce) Euroclass A2/B-s1, d0

- SBI test to determine the fire protection classes - EN 13823:2010, test No. 578-4. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: Wood cladding (18 mm, spruce) Euroclass A2/B-s1, d0

-SBI test to determine the fire protection classes -  EN 13823:2010, test report 624/2011. Product: Holz Prof with stain. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- the type of wood: Acoya (14 mm, spruce) Euroclass A2/B-s1, d0,
-SBI test to determine the fire protection classes - EN 13823:2010, test No. 625. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- Fire Testing Technology, Riga, Latvia. Test report ISO 5660-1:2002.

### 2010

- Fire and Rescue department under the ministry of the interior of the republic of Lithuania fire research centre, certificate of conformity nr GTC 100465, 20.12.2010.

- fire protection class B-s1, d0,  the Certificate of Conformity No. 379-072.10,

Certification Bureau Inspecta Estonia Ltd

- the type of wood: Sakupira Amarella (Africa). Euroclass B-s1, d0. SBI test to determine the fire protection classes - EN 13823, test report 274-1/2010,

Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- MCS test to determine the fire protection classes: Class 1,2. NPB-251-98,

OOO Pozsashita. The Head Office of Russian Rescue Board in Moscow.

- SBI test to determine the fire protection class of plywood - EN 13823, Euroclass C, test No. 03082010. Forest and Wood Products Research and Development Institute (MeKA), Latvia.

- fire protection class B-s1, d0,  the Certificate of Conformity No. GTC 100465.

The Accreditation Bureau of Lithuanian Ministry of Home Affairs, the Fire and Rescue department.

- Certificate of Russian Federation of Fire Protection nr C-EE.ПБ01.В00573, Technical Regulations on Fire Safety Requirements, 26.04.2010.

- fire testing laboratory - a test to determine the fire protection classes. Euroclass B-s1, d0 Classification report: Durability of Reaction to Fire performance class for fire retardant treated spruce. EN 13501-1:2007. SP Technical Research Institute of Sweden.

- Referents of Federal State Institution Russian Research Institute for Fire Protection nr 9768, Fire safety certificate nr 0229735.

- Tallinn University of Technology chair of woodworking, test report 2010-02-19.

- Test №178/140 BIO, EN 113:2000, Mean mass loss of virulence species: Coniophora puteana 46,9%

### 2009

- comparison testing between products Holz Prof and Vital Protect (Finnish fire retardant). Result: product Holz Prof has better characteristics. Test report No. EPM6SP.

Savonia University of Applied Sciences (wood engineering technology), Finland.

- test to determine wood’s bioprotective properties (fungi Coniophora puteana BAM Ebw 15) -   EN 113 (incl. EN 84, EN 73) for Holz Bio. Latvian State Institute of Wood Chemistry.

- a test to determine the fire protection classes of floor covering materials, test report No. EPM6SP (17.04.2009), Euroclass  - B-s1, d0 EN ISO 9239-1:2002.

Savonia University of Applied Sciences (wood engineering technology), Finland.

- wood processing - comparison tests between impregnated and usual wood’s mechanical properties and moisture characteristics, paint adhesion testing. Applied research report 14.09.2009. Tallinn University of Technology, Department  of Polymer Materials, Estonia.

- research about the fire retardant Holz Prof, Euroclass B-s1, d0. Test report SHR N9.396,

SHR Timber Research, Netherlands. Professor M.E. van der Zee.

- type of wood: spruce, (20 mm with air gap 22 mm), Euroclass B-s1, d0, issue No. P906808

Classification report - EN 13501-1:2007. SP Technical Research Institute of Sweden.

-the type of wood: spruce, (20 mm with air gap 22 mm), Euroclass B-s1, d0, SBI test to determine the fire protection classes -  EN 13823, reference 906808,

SP Technical Research Institute of Sweden, fire testing laboratory.

-the type of wood: spruce,  test to determine inflammability - EN ISO 11925-2, reference P906808/ref1. SP Technical Research Institute of Sweden, fire testing laboratory.

•   Trademark “Holz Prof” registration in Sweden.

- Sertificat nr. 261-072/09 INSPECTA ESTONIA OÜ quality controll KK-10-06 (SB EstCert OÜ)

### 2008

- test NT FIRE 053, 054 (ISO 5660) - weather conditions effect on impregnated wood’s fire protective properties. There were used cycles of rain, drying and affecting with UV light. 
SP Technical Research Institute of Sweden, fire testing laboratory.

### 2007

- the type of wood: fir-fine (24 mm). Euroclass B-s1, d0. - SBI test to determine the fire protection classes - EN 13823, test report TM-05/07,  TÜV Estonia Ltd (a member of TÜV NORD Group) fire testing laboratory.

- the type of wood: birch plywood (12 mm). Euroclass B-s1, d0.  SBI test to determine the fire protection classes - EN 13823, test report TM-17/07. TÜV Estonia Ltd fire testing laboratory.

- tests with the fertilizer Ecotaim. Test protocol No. 07-4777 AKL/VA-JSL/ME. 
The Center of Agricultural Studies, the lab of agrochemistry, the lab of residues and pollutants.

- the type of wood: spruce plywood (24 mm). Euroclass B-s1, d0  - SBI test to determine the fire protection classes -  EN 13823, test report TM-11/07, TÜV Estonia Ltd fire testing laboratory

- the type of wood: spruce plywood  (15 mm). Euroclass B-s1, d0  - SBI test to determine the fire protection classes -  EN 13823, test report TM-13/07, TÜV Estonia Ltd fire testing laboratory.

- the type of wood: spruce boards (24 mm). Euroclass B-s1, d0  - SBI test to determine the fire protection classes -  EN 13823, test report TM-11/07, TÜV Estonia Ltd fire testing laboratory

- the type of wood: birch boards (24 mm). Euroclass B-s1, d0.  SBI test to determine the fire protection classes - EN 13823, test report TM-06/07. TÜV Estonia Ltd fire testing laboratory.

- Nordic House Finland Oy, 4.5.2007, The tests confirm that the absorption rates

### 2006

- research about the volatility of substances, report K2006/MM11, according to regulation No. 115, 07.09.2004. The Health Protection Inspectorate of Estonia, the central lab of chemistry.

- the type of wood: spruce timber (24 mm). Euroclass B-s1, d0, SBI test to determine the fire protection classes - EN 13823, test report TM-16/05,  TÜV Estonia Ltd (a member of TÜV NORD Group) fire testing laboratory.

- the type of wood: spruce (24 mm) - test to determine inflammability - EN ISO 11925-2, TÜV Estonia Ltd. fire testing laboratory.

- the type of wood: pine timber (24 mm). Euroclass B-s1, d0. SBI test to determine the fire protection classes - EN 13823, test report TM-16/06.  TÜV Estonia Ltd fire testing laboratory.

- the type of wood: timber (24 mm).  Euroclass B-s1, d0 - classification report - EN 13501-1:2004, Certification Bureau EstCert OÜ by TÜV Estonia Ltd fire testing laboratory.

- test NT Build 504 - a hygroscopicity test, reference N-P 603649. SP Technical Research Institute of Sweden.

- The Health Protection Inspectorate of St. Petersburg reference N 0477745

### 2005

- - product certification No. 146-02/05 (29.04.2005- 29.04.2008). 
The certification bureau EstCert Ltd.

- - microbiological research No. 4427, determining of disinfecting properties - EN 1276. 
The Health Protection Inspectorate of Estonia, the central lab of microbiology.

### 2004

- the type of wood: spruce (12 mm),   Euroclass V1/1,

  - ISO 5657, fire tests – reaction of fire – ignitability of building products, test protocol TM-32/04. TÜV NORD Baltik Ltd (currently TÜV Eesti Ltd.) fire testing laboratory.

  - NT Fire 004. Building products: Heat release and smoke generation. test protocol TM-33/04. TÜV NORD Baltik Ltd (currently TÜV Eesti Ltd.) fire testing laboratory.

### 2003

- research about iron dihydrophosphate’s  properties (04/03-U01, “Fe(H2PO4)3 properties research). University of Tartu, Testing Centre, Estonia.